## Slide 1: Smartphone as Stethoscope
PCG
IMU
PPG
MIC
Low-end
High-end
How to improve PCG recording?
Measurement: drawbacks of mobile device.
Extra information from IMU, PPG.
Data scarcity if deep learning.
Mobile
Better
ECG
PCG

## Slide 2: Measurement - Chirp
Heart sound sample
Stethoscope has higher gain and SNR.
The advantage is more obvious in low-frequency band, which is also the main components of heart sound.
IMU (low-pass filter) may help!

## Slide 3: Measurement - Heart sound playback
Speaker
ARSteth @IPSN’23
Public
Dataset
Pros:
Collect data easily.
Diverse dataset from patients.
Cons:
Gap between real data.
We lose the PPG modality.

## Slide 4: Dataset from simulation & reality
Speaker
Public
Dataset
Loss/Metric
Reference
Training & Validation
Metric
Test only
DNN
DNN

## Slide 5: Playback Simulation: Multi-modal
Problem: We can hardly record vibration by IMU.
Solution: Silicone-made medical skin
Problem: There is no corresponding PPG signal during playback.
Solution: Pending.